**Annex 1- Quotation Form**

**Name of Bidder:**

**Date of Bid: 18/10/2020**

**Bidder Contact Details: (Phone No., Email)**

**Request for Quotation No: UNFPA/SYR/RFQ/PD/11-2020/49**

**Currency of Bid price:**

**Delivery time** *(weeks from receipt of order till dispatch):*

**Expiration of Validity of Quotation** *(The quotation shall be***:**

*Valid for a period of at least (30) day* *after the Closing date):*

**Price Schedule:**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **#** | ***Item*** | ***Specifications*** | ***Qty.*** | ***Unit Price*** | ***Sub-Total Price*** |
| 1 | D. Gen-Set | Premium brand Diesel generator. Rated power output of minimum 250 kVA. Three-phase output at 380V-420Vac, 50Hz frequency. Compression ratio of minimum 17:1. Fully enclosed frame, with soundproofing to help reduce engine noise: Sound Level at 7m to be maximum of 68dBA. Low fuel (diesel) consumption and energy efficient operation. Power panel featuring the main controls, including start switch, volt meter, and circuit breaker. Engine controller with advanced engine and generator LCD monitoring capabilities. Required power protection equipment (e.g. overvoltage/under voltage and overcurrent protection). Built-in spark arrestor, and automatic low-oil shut off to protect the engine. Connected to the earthing system. | **1** |  |  |
| 2 | ATS | Automatic Transfer Switch panel to automatically switch between the mains and generator in the event of a power failure and Integration with existing local office electric distribution and wiring. | **1** |  |  |
| 3 | Site Preparation Service | Civil work, earth protection, lifting, handing, installation, testing and commissioning. | **1** |  |  |
| 4 | Installation accessories | Power cable, earthing cable, cable tray…etc. | **1** |  |  |
| 5 | Additional Installation Accessories | Power cable, earthing cable, cable tray…etc. extra accessories per meter (Optional) | **1** |  |  |
| 6 | Fuel Tank | Supply and Install 1000L fuel tank in site (Optional) | 1 |  |  |
| ***Grand Total Amount*** |  |

**I hereby certify that this company, which I am duly authorized to sign for, accepts the terms and conditions of UNFPA (**<http://www.unfpa.org/resources/unfpa-general-conditions-contract> **) and we will abide by this quotation until it expires.**

**Name and title Date and Place**